**D8 Daily Checks to be done by first user of the day**

Assuming instrument and computer are up and running:

1. LEDs come on when x-rays turn on
2. Door lock works correctly
3. Interior cabinet is clean and free of samples
4. Water chiller is on a running at 68 degrees
5. Are all three radiation badges in the room